## Slide 1: Work on scintillation detector
Urh Trinko

## Slide 2: 10.1.2023
Gathered the necessary components in new workspace.
The main component: NaI(Tl) detector (Model 802 Series) + Photomultiplier tube base-preamplifie (Model 2007P).

## Slide 3: 11.1.2023
Putting all the elements together and checking if the detector works.
PROBLEM: there was no visible peaks on the oscilloscope - maybe the photomultiplier tube isn’t working.
SOLUTION: we needed a different HV supply, because the one used first didn’t have a high enough current.